<html xmlns:o="urn:schemas-microsoft-com:office:office"

xmlns:w="urn:schemas-microsoft-com:office:word"

xmlns:st1="urn:schemas-microsoft-com:office:smarttags"

xmlns="http://www.w3.org/TR/REC-html40">

<head>

<meta http-equiv=Content-Type content="text/html; charset=windows-1252">

<meta name=ProgId content=Word.Document>

<meta name=Generator content="Microsoft Word 11">

<meta name=Originator content="Microsoft Word 11">

<link rel=File-List href="NBS%20Evolution_files/filelist.xml">

<title>NBS SPEC Document</title>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="country-region"/>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="Street"/>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="address"/>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="place"/>

<!--[if gte mso 9]><xml>

<o:DocumentProperties>

<o:Author>dlittle</o:Author>

<o:Template>Normal</o:Template>

<o:LastAuthor>kcole</o:LastAuthor>

<o:Revision>8</o:Revision>

<o:TotalTime>231</o:TotalTime>

<o:LastPrinted>2010-07-22T10:17:00Z</o:LastPrinted>

<o:Created>2010-07-22T10:07:00Z</o:Created>

<o:LastSaved>2011-11-28T11:43:00Z</o:LastSaved>

<o:Pages>1</o:Pages>

<o:Words>957</o:Words>

<o:Characters>5457</o:Characters>

<o:Company>Smart Systems ltd</o:Company>

<o:Lines>45</o:Lines>

<o:Paragraphs>12</o:Paragraphs>

<o:CharactersWithSpaces>6402</o:CharactersWithSpaces>

<o:Version>11.9999</o:Version>

</o:DocumentProperties>

</xml><![endif]--><!--[if gte mso 9]><xml>

<w:WordDocument>

<w:View>Normal</w:View>

<w:Zoom>BestFit</w:Zoom>

<w:SpellingState>Clean</w:SpellingState>

<w:GrammarState>Clean</w:GrammarState>

<w:ValidateAgainstSchemas/>

<w:SaveIfXMLInvalid>false</w:SaveIfXMLInvalid>

<w:IgnoreMixedContent>false</w:IgnoreMixedContent>

<w:AlwaysShowPlaceholderText>false</w:AlwaysShowPlaceholderText>

<w:BrowserLevel>MicrosoftInternetExplorer4</w:BrowserLevel>

</w:WordDocument>

</xml><![endif]--><!--[if gte mso 9]><xml>

<w:LatentStyles DefLockedState="false" LatentStyleCount="156">

</w:LatentStyles>

</xml><![endif]--><!--[if !mso]><object

classid="clsid:38481807-CA0E-42D2-BF39-B33AF135CC4D" id=ieooui></object>

<style>

st1\:*{behavior:url(#ieooui) }

</style>

<![endif]-->

<style>

<!--

/* Style Definitions */

p.MsoNormal, li.MsoNormal, div.MsoNormal

{mso-style-parent:"";

margin:0in;

margin-bottom:.0001pt;

mso-pagination:widow-orphan;

font-size:12.0pt;

font-family:"Times New Roman";

mso-fareast-font-family:"Times New Roman";}

h1

{mso-margin-top-alt:auto;

margin-right:0in;

mso-margin-bottom-alt:auto;

margin-left:0in;

mso-pagination:widow-orphan;

mso-outline-level:1;

font-size:24.0pt;

font-family:"Times New Roman";

font-weight:bold;}

h3

{mso-margin-top-alt:auto;

margin-right:0in;

mso-margin-bottom-alt:auto;

margin-left:0in;

mso-pagination:widow-orphan;

mso-outline-level:3;

font-size:13.5pt;

font-family:"Times New Roman";

font-weight:bold;}

h4

{mso-margin-top-alt:auto;

margin-right:0in;

mso-margin-bottom-alt:auto;

margin-left:0in;

mso-pagination:widow-orphan;

mso-outline-level:4;

font-size:12.0pt;

font-family:"Times New Roman";

font-weight:bold;}

h5

{mso-margin-top-alt:auto;

margin-right:0in;

mso-margin-bottom-alt:auto;

margin-left:0in;

mso-pagination:widow-orphan;

mso-outline-level:5;

font-size:10.0pt;

font-family:"Times New Roman";

font-weight:bold;}

p

{mso-margin-top-alt:auto;

margin-right:0in;

mso-margin-bottom-alt:auto;

margin-left:0in;

mso-pagination:widow-orphan;

font-size:12.0pt;

font-family:"Times New Roman";

mso-fareast-font-family:"Times New Roman";}

span.SpellE

{mso-style-name:"";

mso-spl-e:yes;}

span.GramE

{mso-style-name:"";

mso-gram-e:yes;}

@page Section1

{size:595.3pt 841.9pt;

margin:1.0in 1.25in 1.0in 1.25in;

mso-header-margin:35.4pt;

mso-footer-margin:35.4pt;

mso-paper-source:0;}

div.Section1

{page:Section1;}

-->

</style>

<!--[if gte mso 10]>

<style>

/* Style Definitions */

table.MsoNormalTable

{mso-style-name:"Table Normal";

mso-tstyle-rowband-size:0;

mso-tstyle-colband-size:0;

mso-style-noshow:yes;

mso-style-parent:"";

mso-padding-alt:0in 5.4pt 0in 5.4pt;

mso-para-margin:0in;

mso-para-margin-bottom:.0001pt;

mso-pagination:widow-orphan;

font-size:10.0pt;

font-family:"Times New Roman";

mso-ansi-language:#0400;

mso-fareast-language:#0400;

mso-bidi-language:#0400;}

</style>

<![endif]-->

</head>

<body lang=EN-US style='tab-interval:.5in'>

<div class=Section1>

<h1><span lang=EN-GB style='mso-ansi-language:EN-GB'>Smart Systems Ltd<o:p></o:p></span></h1>

<p><span lang=EN-GB style='mso-ansi-language:EN-GB'>Tel: 01934 876100<o:p></o:p></span></p>

<h3><span lang=EN-GB style='mso-ansi-language:EN-GB'>L10

WINDOWS/ROOFLIGHTS/SCREENS/LOUVRES<o:p></o:p></span></h3>

<h4><span lang=EN-GB style='mso-ansi-language:EN-GB'>330 ALUMINIUM WINDOWS<o:p></o:p></span></h4>

<p><span lang=EN-GB style='mso-ansi-language:EN-GB'>Smart Systems are a major

supplier to the window and door fabrication industry and are active members of

The Council for Aluminium in Building (CAB) and members of CWCT.<br>

Smart Systems aluminium and composite profile product range includes, doors,

windows, glazed screens, curtain walling, roof glazing and conservatories, for

both the commercial and domestic markets. An extensive range of ancillary items

such as balustrades is available to complement each product range. <br>

Aluminium profiles are manufactured from grade 6060/6063 T5/T6. Size tolerances

are in accordance with DIN and BS standards.<br>

Co-extruded profiles and EPDM seals are tested in accordance with DIN 7863, TV

110, NFP 85301, <span class=GramE>ISO</span> 3994. Thermal breaks are formed

with polyamide strips PA 6.6 25 reinforced with glass fibre, fitted between

aluminium extrusions. <br>

Profiles can be Electrostatic powder coat finished in a range of RAL colours to

APA <span class=SpellE>Qualicoat</span> guidelines with the option of

BI-colour, different internal and external colours. Other finishes include anodised

in satin or with EWAA/EURAS-<span class=SpellE>Qualanod</span> quality label.

Powder-coated <span class=SpellE>woodstructure</span> finishes are available on

request.<o:p></o:p></span></p>

<h5><span lang=EN-GB style='mso-ansi-language:EN-GB'>Evolution Windows<o:p></o:p></span></h5>

<p><span class=GramE><span lang=EN-GB style='mso-ansi-language:EN-GB'>Designed

for use as fixed lights and open out windows, internally beaded, for domestic

and light commercial applications.</span></span><span lang=EN-GB

style='mso-ansi-language:EN-GB'><br>

Thermal breaks are formed with polyamide strips PA 6.6 25 reinforced with glass

fibre, fitted between aluminium extrusions.<br>

All profiles are extruded from aluminium alloy 6060/6063 T5/T6 and comply with

the recommendations of BS EN 12020-2; 2001/BS 755-9: 2001. Profiles can be

Electrostatic powder coat finished in a range of RAL colours to APA <span

class=SpellE>Qualicoat</span> guidelines with the option of BI-colour,

different internal and external colours. Other finishes include anodised in

satin with EWAA/EURAS-<span class=SpellE>Qualanod</span> quality label.<br>

All opening vents are hung on concealed stainless steel variable angle friction

stays and fitted with cockspur/<span class=SpellE>espagnolette/espagnolette</span>

shoot bolt locking mechanisms. <br>

Internal beads and gaskets will accommodate 24mm units.<br>

Windows are manufactured according to customer requirements from a range of

standard profiles and are designed to incorporate a range of vent openings and

various options, therefore it is advisable to contact Smart Systems technical

design department early in the design process. <br>

Product tested to BS 6375: Part 1. Weather Tightness classification<span

class=GramE>:</span><br>

Air Permeability  Class 3 (600Pa)<br>

Water Tightness <span style='mso-spacerun:yes'> </span>Class E1050Pa.<br>

Wind resistance <span style='mso-spacerun:yes'> </span>Class AE (2400Pa<span

class=GramE>)</span><br>

Windows are manufactured to the required design to within the following maximum

limitations (subject to location).<br>

Side opening  Max width 700mm. Weight limit dependant upon gear and profile

selection.<br>

<span class=GramE>Top Opening  Max height 1200mm. Weight limit dependant upon

gear and profile selection.</span><br>

Subject to agreement it is possible to exceed these limitations depending on

design criteria, contact Smart Systems Technical Department for details.<br>

Consult Smart Systems Ltd technical literature for details. Smart Systems Ltd

can also provide design and specification guidance and it is recommended that

they are consulted early in the design process.<o:p></o:p></span></p>

<p><strong><span lang=EN-GB style='mso-ansi-language:EN-GB'>Manufacturer</span></strong><span

lang=EN-GB style='mso-ansi-language:EN-GB'>: Smart Systems Ltd. <st1:Street

w:st="on"><st1:address w:st="on">Arnolds Way</st1:address></st1:Street>, <span

class=SpellE>Yatton</span>, <st1:place w:st="on">North Somerset</st1:place>

BS49 4QN. Tel: 01934 876100. Fax: 01934 835169. Email: sales@smartsystems.co.uk

Web: www.smartsystems.co.uk <br>

<strong>Product reference</strong>: Evolution Series Windows<br>

<strong>Materials</strong>: All profiles are extruded from aluminium alloy

6060/6063 T5/T6 and comply with the recommendations of BS EN 12020-2; 2001/BS

755-9: 2001. Thermal breaks are formed with polyamide strips PA 6.6 25

reinforced with glass fibre sections capable of withstanding temperatures up to

200C for over painting.<br>

<strong>Performance</strong>: Product tested to BS 6375: Part 1. <span

class=GramE>Air Permeability  Class 3 (600Pa).</span><span

style='mso-spacerun:yes'> </span>Water Tightness  E1050Pa.. Wind resistance

Class AE (2400Pa<span class=GramE>)</span><br>

<br>

<strong>Exposure</strong>: Design Wind Pressure TBA <br>

<strong>Thermal</strong>: All windows, in conjunction with a suitable glazing

specification, to achieve an average project U-value to meet the current

requirements of the approved Building Regulation Document L1/L2 for <st1:country-region

w:st="on">England</st1:country-region> and <st1:place w:st="on"><st1:country-region

w:st="on">Wales</st1:country-region></st1:place>. Target window U-value TBA. <br>

<strong>Construction</strong><span class=GramE>:</span><br>

All windows shall be manufactured, installed and glazed in strict accordance

with Smart Systems instructions and guidelines as set down in the appropriate

technical literature, details and specifications.<br>

Depth of outer frame sections shall be 47 mm incorporating two 20mm or 22mm

polyamide thermal break sections within the window profiles.<br>

All outer frame and vent members to be 45 mitred corner construction,

reinforced by means of extruded aluminium cleats and stainless steel corner

braces.<br>

All corner joints to be secured by gluing &amp; crimping.<br>

<span class=GramE>All mullions and transoms to be cut/shaped and secured using

either stainless steel screws driven into integral screw ports within the

sections or cleats.</span><br>

<span class=GramE>All joints to be sealed during construction using suitable

'small gap' sealant.</span><br>

The windows to incorporate an internal pressure equalized drainage system with

concealed down drainage through a sub sill or frontal drainage with snap on

cover caps.<o:p></o:p></span></p>

<p><strong><span lang=EN-GB style='mso-ansi-language:EN-GB'>Finish as

Delivered:</span></strong><span lang=EN-GB style='mso-ansi-language:EN-GB'> <br>

<strong>Internal Colour</strong>: TBA<br>

<strong>External Colour</strong>: TBA <o:p></o:p></span></p>

<p><strong><span lang=EN-GB style='mso-ansi-language:EN-GB'>Glazing details</span></strong><span

lang=EN-GB style='mso-ansi-language:EN-GB'>: Glazing shall be site glazed as

section L40.<br>

Windows shall be double glazed and internally beaded<br>

Unit thickness. <span class=GramE>Overall thickness of 24 mm.</span><br>

All windows to be dry glazed using shuffle extruded aluminium beads and EPDM

extruded gaskets. With proprietary glazing tape.<o:p></o:p></span></p>

<p><strong><span lang=EN-GB style='mso-ansi-language:EN-GB'>Ironmongery /

Accessories: (Additional<span class=GramE>)</span></span></strong><span

lang=EN-GB style='mso-ansi-language:EN-GB'><br>

No trickle vent required. Window sill profile to suit structure depth. <o:p></o:p></span></p>

<p><strong><span lang=EN-GB style='mso-ansi-language:EN-GB'>Fixing</span></strong><span

class=GramE><span lang=EN-GB style='mso-ansi-language:EN-GB'>:</span></span><span

lang=EN-GB style='mso-ansi-language:EN-GB'><br>

All fixings to be in strict accordance with the relevant British Standards,

including BS 6262, and shall ensure the window is retained securely within the

opening without incurring any damage or distortion to the window frame.<br>

Generally, fixings to be positioned 150mm from each corner and each

mullion/transom and at centres not exceeding 600mm.<br>

Fixing lugs/straps only to be used where they can be suitably concealed to

approval.<br>

All fixing of windows to the supporting structure to be achieved using a

suitable lug and/or frame anchor fixing method capable of accommodating all

applicable loads, deflection, tolerances and expansion expected on site.<br>

Details of the proposed fixing method shall be submitted to the project

engineer for approval prior to installation. <o:p></o:p></span></p>

</div>

</body>

</html>