<html xmlns:o="urn:schemas-microsoft-com:office:office"

xmlns:w="urn:schemas-microsoft-com:office:word"

xmlns:st1="urn:schemas-microsoft-com:office:smarttags"

xmlns="http://www.w3.org/TR/REC-html40">

<head>

<meta http-equiv=Content-Type content="text/html; charset=windows-1252">

<meta name=ProgId content=Word.Document>

<meta name=Generator content="Microsoft Word 11">

<meta name=Originator content="Microsoft Word 11">

<link rel=File-List href="NBS%20Visoline_files/filelist.xml">

<title>NBS SPEC Document</title>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="PostalCode"/>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="Street"/>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="address"/>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="City"/>

<o:SmartTagType namespaceuri="urn:schemas-microsoft-com:office:smarttags"

name="place"/>

<!--[if gte mso 9]><xml>

<o:DocumentProperties>

<o:Author>kcole</o:Author>

<o:Template>Normal</o:Template>

<o:LastAuthor>kcole</o:LastAuthor>

<o:Revision>4</o:Revision>

<o:TotalTime>4</o:TotalTime>

<o:Created>2011-06-15T09:39:00Z</o:Created>

<o:LastSaved>2011-11-28T11:48:00Z</o:LastSaved>

<o:Pages>1</o:Pages>

<o:Words>1057</o:Words>

<o:Characters>6027</o:Characters>

<o:Company>Smart Systems ltd</o:Company>

<o:Lines>50</o:Lines>

<o:Paragraphs>14</o:Paragraphs>

<o:CharactersWithSpaces>7070</o:CharactersWithSpaces>

<o:Version>11.9999</o:Version>

</o:DocumentProperties>

</xml><![endif]--><!--[if gte mso 9]><xml>

<w:WordDocument>

<w:Zoom>BestFit</w:Zoom>

<w:SpellingState>Clean</w:SpellingState>

<w:GrammarState>Clean</w:GrammarState>

<w:ValidateAgainstSchemas/>

<w:SaveIfXMLInvalid>false</w:SaveIfXMLInvalid>

<w:IgnoreMixedContent>false</w:IgnoreMixedContent>

<w:AlwaysShowPlaceholderText>false</w:AlwaysShowPlaceholderText>

<w:BrowserLevel>MicrosoftInternetExplorer4</w:BrowserLevel>

</w:WordDocument>

</xml><![endif]--><!--[if gte mso 9]><xml>

<w:LatentStyles DefLockedState="false" LatentStyleCount="156">

</w:LatentStyles>

</xml><![endif]--><!--[if !mso]><object

classid="clsid:38481807-CA0E-42D2-BF39-B33AF135CC4D" id=ieooui></object>

<style>

st1\:*{behavior:url(#ieooui) }

</style>

<![endif]-->

<style>

<!--

/* Style Definitions */

p.MsoNormal, li.MsoNormal, div.MsoNormal

{mso-style-parent:"";

margin:0in;

margin-bottom:.0001pt;

mso-pagination:widow-orphan;

font-size:12.0pt;

font-family:"Times New Roman";

mso-fareast-font-family:"Times New Roman";}

h1

{mso-margin-top-alt:auto;

margin-right:0in;

mso-margin-bottom-alt:auto;

margin-left:0in;

mso-pagination:widow-orphan;

mso-outline-level:1;

font-size:24.0pt;

font-family:"Times New Roman";

font-weight:bold;}

a:link, span.MsoHyperlink

{color:blue;

text-decoration:underline;

text-underline:single;}

a:visited, span.MsoHyperlinkFollowed

{color:blue;

text-decoration:underline;

text-underline:single;}

p

{mso-margin-top-alt:auto;

margin-right:0in;

mso-margin-bottom-alt:auto;

margin-left:0in;

mso-pagination:widow-orphan;

font-size:12.0pt;

font-family:"Times New Roman";

mso-fareast-font-family:"Times New Roman";}

span.SpellE

{mso-style-name:"";

mso-spl-e:yes;}

span.GramE

{mso-style-name:"";

mso-gram-e:yes;}

@page Section1

{size:8.5in 11.0in;

margin:1.0in 1.25in 1.0in 1.25in;

mso-header-margin:35.4pt;

mso-footer-margin:35.4pt;

mso-paper-source:0;}

div.Section1

{page:Section1;}

-->

</style>

<!--[if gte mso 10]>

<style>

/* Style Definitions */

table.MsoNormalTable

{mso-style-name:"Table Normal";

mso-tstyle-rowband-size:0;

mso-tstyle-colband-size:0;

mso-style-noshow:yes;

mso-style-parent:"";

mso-padding-alt:0in 5.4pt 0in 5.4pt;

mso-para-margin:0in;

mso-para-margin-bottom:.0001pt;

mso-pagination:widow-orphan;

font-size:10.0pt;

font-family:"Times New Roman";

mso-ansi-language:#0400;

mso-fareast-language:#0400;

mso-bidi-language:#0400;}

</style>

<![endif]-->

</head>

<body lang=EN-US link=blue vlink=blue style='tab-interval:.5in'>

<div class=Section1>

<h1>Smart Systems Ltd</h1>

<p>Tel: 01934 876100</p>

<p><strong>L10 WINDOWS/ROOFLIGHTS/SCREENS/LOUVRES</strong><b><br>

</b><br>

<strong>330 ALUMINIUM WINDOWS</strong><b><br>

</b><br>

Smart Systems are a major supplier to the window and door fabrication industry

and are active members of The Council for Aluminium in Building (CAB) and

members of CWCT.<br>

Smart Systems <span class=SpellE>aluminium</span> and composite profile product

range includes, doors, windows, glazed screens, curtain walling, roof glazing

and conservatories, for both the commercial and domestic markets. An extensive

range of ancillary items such as door panels, <span class=SpellE>louvres</span>,

balustrades and glazed in trickle vents are available to complement each

product range. <br>

Aluminium profiles are manufactured from grade 6060/6063 T5/T6. Size tolerances

are in accordance with DIN and BS standards.<br>

Co-extruded profiles and EPDM seals are tested in accordance with DIN 7863, TV

110, NFP 85301, <span class=GramE>ISO</span> 3994. Thermal breaks are formed

with polyamide strips PA 6.6 25 reinforced with glass <span class=SpellE>fibre</span>,

fitted between <span class=SpellE>aluminium</span> extrusions. <br>

Profiles can be Electrostatic powder coat finished in a range of RAL <span

class=SpellE>colours</span> to APA <span class=SpellE>Qualicoat</span>

guidelines with the option of BI-<span class=SpellE>colour</span>, different

internal and external <span class=SpellE>colours</span>. Other finishes include

<span class=SpellE>anodised</span> in satin with EWAA/EURAS-<span class=SpellE>Qualanod</span>

quality label. Powder-coated <span class=SpellE>woodstructure</span> finishes

are available on request.</p>

<p><span class=SpellE><strong>Visoline</strong></span><strong> Windows </strong><br>

<b><br>

</b>Designed for use as fixed lights, tilt and turn, single or double sash

side-hung open in or out, tilt in, side or top hung open out, horizontal or

vertical pivot and tilt and slide windows, internally beaded, for domestic and

light / medium / heavy commercial applications.<br>

Thermal breaks are formed with polyamide strips PA 6.6 25 reinforced with glass

<span class=SpellE>fibre</span>, fitted between <span class=SpellE>aluminium</span>

extrusions.<br>

All profiles are extruded from <span class=SpellE>aluminium</span> alloy

6060/6063 T5/T6 and comply with the recommendations of BS EN 12020-2; 2001/BS

755-9: 2001. Profiles can be Electrostatic powder coat finished in a range of

RAL <span class=SpellE>colours</span> to APA <span class=SpellE>Qualicoat</span>

guidelines with the option of BI-<span class=SpellE>colour</span>, different

internal and external <span class=SpellE>colours</span>. Other finishes include

<span class=SpellE>anodised</span> in satin with EWAA/EURAS-<span class=SpellE>Qualanod</span>

quality label. Powder-coated <span class=SpellE>woodstructure</span> finishes

are available on request.<br>

All opening vents are hung on non-corrosive hardware and fitted with cockspur/<span

class=SpellE>espagnolette/espagnolette</span> shoot bolt/multi-point locking

mechanisms.<br>

Restrictor stays are fitted on all vent openings, manufactured from material

meeting the requirements of BS 4873. <br>

Glazing conforms to the requirements of BS 6262 and Part N of the Building

Regulations for both thickness and type. <br>

Internal beads and gaskets will accommodate 4mm to 38mm units.<br>

Windows are manufactured according to customer requirements from a range of

standard profiles and are designed to incorporate a range of vent openings and

various options, therefore it is advisable to contact Smart Systems technical

design department early in the design process. <br>

Product tested to BS 6375: Part 1. Weather Tightness classification<span

class=GramE>:</span><br>

Air Permeability  Class C.<br>

<span class=GramE>Water Tightness  600pa.</span><br>

Wind resistance  2400pa<br>

Windows are manufactured to the required design to limitations as stated within

technical manuals (subject to location). <br>

Subject to agreement it is possible to exceed these limitations depending on

design criteria, contact Smart Systems Technical Department for details.<br>

Consult Smart Systems Ltd technical literature for details. Smart Systems Ltd

can also provide design and specification guidance and it is recommended that

they are consulted early in the design process.<br>

<br>

<strong>Manufacturer: </strong>Smart Systems Ltd. <st1:Street w:st="on"><st1:address

w:st="on">Arnolds Way</st1:address></st1:Street>, <span class=SpellE>Yatton</span>,

<st1:place w:st="on"><st1:City w:st="on">North Somerset</st1:City> <st1:PostalCode

w:st="on">BS49 4QN</st1:PostalCode></st1:place> Tel: 01934 876100. Fax: 01934

83516. Email: sales@smartsystems.co.uk Web: www.smartsystems.co.uk<a

href="http://www.nbsplus.co.uk/process.asp?SmartSystemsLtd"></a> <br>

<strong>Product reference:</strong> <span class=SpellE>Visoline</span> Windows<br>

<strong>Materials:</strong> All profiles are extruded from <span class=SpellE>aluminium</span>

alloy 6060/6063 T5/T6 and comply with the recommendations of BS EN 12020-2;

2001/BS 755-9: 2001. Thermal breaks are formed with polyamide strips PA 6.6 25

reinforced with glass <span class=SpellE>fibre</span> sections capable of

withstanding temperatures up to 200C for over painting.<br>

<strong>Performance</strong>: Product tested to BS 6375: Part 1. <span

class=GramE>(Air Permeability  Class 'C'.</span> Water Tightness - 600 <span

class=GramE>pa</span>. Wind resistance - 2400 pa. ).<br>

<br>

<strong>Exposure</strong>: Design Wind Pressure of 2400 Pa. <br>

<strong>Thermal</strong>: All windows, in conjunction with a suitable glazing

specification, to achieve an average project U-value to meet the current

requirements of the approved Building Regulation Document L1/L2 for England and

Wales. Target window U-value to be 1.5 W/mK. <br>

<strong>Structure:</strong> All structural profiles to be designed so as the

maximum deflection of any glass edge into a framing member under <span

class=SpellE>windload</span> shall not exceed L/175 of its span with no

evidence of any permanent deformation once the load has been removed. All

horizontal framing members to restrict dead load deflection to L/400, up to a

maximum of 3mm.<br>

<strong>Construction:</strong><br>

All windows shall be manufactured, installed and glazed in strict accordance

with Smart Systems instructions and guidelines as set down in the appropriate

technical literature, details and specifications.<br>

Minimum depth of outer frame sections shall be 51mm incorporating two 18.6mm

polyamide thermal break sections within the window profiles.<br>

All outer frame and vent members to be 45 <span class=SpellE>mitred</span> corner

construction, reinforced by means of extruded <span class=SpellE>aluminium</span>

cleats and stainless steel corner braces.<br>

All corner joints to be secured by gluing &amp; crimping or gluing and

mechanical corner cleats.<br>

<span class=GramE>All mullions and transoms to be cut/shaped and secured using either

stainless steel screws driven into integral screw ports within the sections or

cruciform cleats.</span><br>

<span class=GramE>All joints to be sealed during construction using suitable

'small gap' sealant.</span><br>

The windows to incorporate an internal pressure equalized drainage system with

concealed down drainage through a sub sill or frontal drainage with snap on

cover caps.</p>

<p><strong>Finish as Delivered:</strong> <br>

<strong>Internal <span class=SpellE>Colour</span></strong>: White. <br>

<strong>External <span class=SpellE>Colour</span></strong>: White. </p>

<p><strong>Glazing details: </strong>Windows shall be glazed and internally

with square bead.<br>

<span class=GramE>Unit thickness.</span> <span class=GramE>Overall thickness of

TBA.</span><br>

<br>

All internal glazed windows to be dry glazed using snap in' extruded <span

class=SpellE>aluminium</span> beads and EPDM extruded gaskets.<br>

<b><br>

<strong>Ironmongery / Accessories: </strong></b>No additional Ironmongery or

Accessories required. <br>

<br>

<strong>Fixing<span class=GramE>:</span></strong><b><br>

</b>All fixings to be in strict accordance with the relevant British Standards,

including BS 6262, and shall ensure the window is retained securely within the

opening without incurring any damage or distortion to the window frame.<br>

Generally, fixings to be positioned 150mm from each corner and each

mullion/transom and at <span class=SpellE>centres</span> not exceeding 600mm.<br>

Fixing lugs/straps only to be used where they can be suitably concealed to

approval.<br>

All fixing of windows to the supporting structure to be achieved using a

suitable lug and/or frame anchor fixing method capable of accommodating all

applicable loads, deflection, tolerances and expansion expected on site.

Details of the proposed fixing method shall be submitted to the project

engineer for approval prior to installation. </p>

</div>

</body>

</html>